## Slide 1
Pulser Characteristics
- Models and Measurements

## Slide 2
Learning Objectives
characteristics of "spike" and square wave pulsers
measurement of pulser electrical properties
effects of pulser settings

## Slide 3
Pulser - Panametrics 5052 PR
rep rate
energy
attenuation
h.p. filter
damping
1
2
3
4
low
high
gain (dB)
power
T/R
RCVR
1
2
20
40
out
0.5
1.0
2.0
pulse-echo setup
transducer

## Slide 4
Pulser - simple model of components
V
c
R
c
storage capacitor
(energy setting)
C
0
R
d
to
display
Q
0
damping
setting
voltage
source
repetitive
switch
(rep rate)
attenuation, gain
and filter settings
transducer (actually
an equivalent network)

## Slide 5
Vi()
Z i()
e
V1
Pulser – Thevenin equivalent circuit
Vi() … equivalent voltage source
Z i() … equivalent impedance
e

## Slide 6
Many modeling studies omit the impedance and take
the voltage source as a negative time-domain “spike”:
Four parameter
model:
Pulser Modeling

## Slide 7
Pulser Modeling
Model pulse with t0 = 0.01, 1 = 0.2, 2 = 50, V0 = 200
0
0.1
0.2
0.3
0.4
0.5
-200
-160
-120
-80
-40
0
Voltage
time, sec

## Slide 8
Pulser Modeling
Frequency spectrum calculated with FFT looks like:
0
20
40
60
80
100
120
140
160
180
200
0
1
2
3
4
5
frequency, MHz
|V(f)|

## Slide 9
>> t = linspace(0, 0.5, 512);
>> V = pulserVT(200, .005, 0.2, 50,t);
>> plot(t, V)
>> plot(t, c_shift(V, 100))
>> V = pulserVT(200, .01, 0.2, 50,t);
>> plot(t, c_shift(V, 100))
>> xlabel(' Time (\musec)')
>> ylabel('Voltage')
>> dt = t(2) -t(1);
>> Vf=FourierT(V,dt);
>> f = linspace(0, 1/dt, 512);
>> plot(f, abs(Vf))
>> plot(f(1:100), abs(Vf(1:100)))
>> xlabel('frequency, Hz')
>> ylabel('|V(f)|')
function V = pulserVT(V0, t0, a1, a2, t)
t = t + eps*( t ==0);
Vinf = V0/(1-exp(-a1*t0));
V = -Vinf*(1- exp(-a1*t)).*(t <= t0) -V0*exp(-a2*(t -t0)).*(t > t0);

## Slide 10
Equivalent voltage spectrum in the frequency domain:
A plot of the magnitude of this spectrum at the parameter values
listed previous looks like the previous plot:

## Slide 11
Pulser Modeling
0
20
40
60
80
100
120
140
160
180
200
0
1
2
3
4
5
6
frequency, MHz
|V(f)|

## Slide 12
>> vff = pulserV(200, .01, 0.2,50,f);
>> plot(f(1:100), abs(vff(1:100)))
>> xlabel('frequency, Hz')
>> ylabel('|V(f)|')
function Vout = pulserV(V0, t0, a1, a2, f)
f = f + eps*(f ==0);
Vinf = V0/(1 -exp(-a1*t0));
arg1 = a1 - i*2*pi*f;
arg2 = a2 - i*2*pi*f;
Vout = Vinf*(1-exp(-arg1*t0))./arg1 + Vinf*(1 -exp(i*2*pi*f*t0))./(i*2*pi*f) ...
-V0*exp(i*2*pi*f*t0)./arg2;

## Slide 13
Pulser – Panametrics 5052 PR
Output pulse of Panametrics 5052PR, energy setting = 1,
damping setting = 5, open output terminal

## Slide 14
Vi()
Z i()
e
V
Measurement of pulser properties
Vi()
Z i()
e
VL
open circuit
V = Vi()
RL
known load, RL
Pulser - Experimental

## Slide 15
Pulser – Panametrics 5052PR
Damping 0
Damping 7
Spike Pulser
0
5
10
15
20
0
10
20
30
40
50
60
70
f (MHz)
Magnitude (V)
Energy 1
Energy 4
f (MHz)
Magnitude (V)
0
5
10
15
20
0
2
4
6
8
10
12
14
16
Energy 1
Energy 4

## Slide 16
Pulser – Panametrics 5052 PR
Damping 0
Damping 7
Spike Pulser
0
5
10
15
20
0
100
200
300
400
500
600
700
800
900
f (MHz)
Magnitude ()
Energy 1
Energy 4
0
5
10
15
20
0
5
10
15
20
25
30
f (MHz)
Magnitude ()
Energy 1
Energy 4

## Slide 17
Pulser – Panametrics 5052 PR
0
1
2
3
4
5
0
100
200
300
400
500
600
700
800
850
f (MHz)
Magnitude ()
Energy 1
Loading effect
Magnitude ()
f (MHz)
0
5
10
15
20
0
200
400
600
800
1000
1200
1400
1600
1800
2000
Damping effect
Spike Pulser
Damping
+
0
7

## Slide 18
Square Wave Pulser -UTEX 340

## Slide 19
Square Wave Pulser -UTEX 320
t (sec)
Amplitude (V)
f (MHz)
Amplitude (V)
Phase (deg)
Pulser source measured in open-circuit conditions
0
0.05
0.1
0.15
0.2
0.25
-200
-100
0

## Slide 20
Square Wave Pulser -UTEX 320
Pulse Width 0
Pulse Width 50
0
5
10
15
20
0
1
2
3
4
5
6
7
f (MHz)
Magnitude (V)
100 V
200 V
f (MHz)
Magnitude (V)
0
5
10
15
20
0
2
4
6
8
10
12
14
100 V
200 V
Square wave Pulser

## Slide 21
Square Wave Pulser -UTEX 320
Pulse Width 0
Pulse Width 50
0
5
10
15
20
0
20
40
60
80
100
120
140
160
f (MHz)
Magnitude ()
100 V
200 V
Square wave Pulser
f (MHz)
Magnitude ()
0
5
10
15
20
0
5
10
15
20
25
30
35
40
100 V
200 V

## Slide 22
Square Wave Pulser -UTEX 320
f (MHz)
Magnitude ()
Voltage 100
Loading effect
Magnitude ()
f (MHz)
Pulse width effect
20
0
5
10
15
20
0
40
60
80
100
120
140
160
180
200
220
Square wave Pulser
Width
+
10
50