## Slide 1
The Fourier Transform

## Slide 2
Learning Objectives
definition of Fourier Transform and its inverse
reasons for use of the Fourier Transform
brief introduction to Fourier transform properties
delta function and its spectrum
definition of dB scale
definition of -6dB bandwidth
bandwidth - time domain connection

## Slide 3
Fourier Transforms for UT Systems
vi(t)
vR(t)
Time domain Frequency domain
… volts-sec
or volts-sec
or, equivalently
input voltage
output voltage
for NDE problems t is usually in sec, f in MHz

## Slide 4
A few properties of Fourier Transforms
If
then
Fourier Transforms

## Slide 5
t0
t
A
v(t)
Example Fourier transform

## Slide 6
>> u=linspace(0, 5, 100);
>> u = u + eps*(u = = 0);
>> yf = exp(i*pi*u).*sin(pi*u)./(pi*u);
>> plot(u, abs(yf))
>> xlabel('f*t_0')
>> ylabel('abs(V/At_0)')
0
0.5
1
1.5
2
2.5
3
3.5
4
4.5
5
0
0.1
0.2
0.3
0.4
0.5
0.6
0.7
0.8
0.9
1
f*t
0
abs(V/At
0
)

## Slide 7
>> plot(u, angle(yf))
0
0.5
1
1.5
2
2.5
3
3.5
4
4.5
5
0
0.5
1
1.5
2
2.5
3
3.5

## Slide 8
Concept of a delta function (impulse)
t0
t
A
v(t)
Consider taking the limit
with
1.0
t
f

## Slide 9
Some properties of delta functions
t

1.0
t

unit step function
0.5

## Slide 10
A Gaussian spectrum with a center frequency fc and bandwidth bw
bw = -6 dB bandwidth
frequency
bw
fc = center frequency

## Slide 11
- 6 dB bandwidth in % = bw/fc x 100
Transducer specifications (from the manufacturer)

## Slide 12
V( f )
[note scale differences]
v(t)
bw = 4 MHz
bw = 2 MHz
bw = 1 MHz
frequency, MHz
time, sec
fc = 10 MHz
-20
-10
0
10
20
0
0.1
0.2
-1
-0.5
0
0.5
1
-1
0
1
-20
-10
0
10
20
0
0.2
0.4
-1
-0.5
0
0.5
1
-1
0
1
-20
-10
0
10
20
0
0.5
1
-1
-0.5
0
0.5
1
-1
0
1

## Slide 13
% Gaussian_script
f= linspace(-20, 20, 200);
t =linspace(-1,1, 500);
subplot(3,2,1)
bw =4;
fc = 10;
[y,z]= Gauss_funcs(f,t,fc, bw);
plot(f, y)
subplot(3, 2, 2)
plot(t,z)
subplot(3, 2, 3)
bw =2;
fc = 10;
[y,z]= Gauss_funcs(f,t,fc, bw);
plot(f,y)
subplot(3,2,4)
plot(t,z)
subplot(3, 2, 5)
bw =1;
fc = 10;
[y,z]= Gauss_funcs(f,t,fc, bw);
plot(f,y)
subplot(3,2,6)
plot(t,z)
function [y, z] =Gauss_funcs(f,t,fc,bw)
a = sqrt(log(2))/(pi*bw);
y = sqrt(pi)*a*(exp(-(2*a*pi*(f - fc)).^2) + exp(-(2*a*pi*(f + fc)).^2));
z = cos(2*pi*fc*t).*exp(-(1/(4*a^2))*t.^2);

## Slide 14
Note: there are a number of forms used for the Fourier
Transforms. Some of these are different from the ones we
will use here:
Some examples:
(often seen in the
math literature)

## Slide 15
(often seen in the
EE literature)
All of these forms are acceptable. In fact we could write
Fourier transform pairs in general as:
as long as

## Slide 16
References
Sneddon, I.N., Fourier Transforms, McGraw-Hill, New York,
1951.
Bracewell, R.N., The Fourier Transform and its Applications,
3rd Ed. McGraw-Hill, New York, 2000.