## Slide 1
Ultrasonic System Measurement Model - I

## Slide 2
Learning Objectives
Use of a simple fluid model to obtain a complete
measurement model
extension to a fluid-solid model

## Slide 3
flaw
pulser
Vi()
z i
transducer
Sr
transducer
receiver
eso
z s
eio
St
Ultrasonic System Model – Single Fluid

## Slide 4
pulser
Vi()
v0()
piston
transducer
Consider the sound generation process:
St … area of the transmitting transducer
Ultrasonic System Model – Single Fluid
transfer function for pulser, cabling, transducer

## Slide 5
flaw
pulser
Vi()
Pinc()
z i
transducer
eio
In the paraxial approximation, the beam produces a quasi-plane wave incident on the flaw given by:
xs
St
Ultrasonic System Model – Single Fluid

## Slide 6
Ultrasonic System Model – Single Fluid
Pinc()
eio
xs
Note: since
ri
St
zi
diffraction correction
(deviation from a plane wave)

## Slide 7
St
ri
To calculate the diffraction coefficient, however, we can use a multi-Gaussian beam model:
a

## Slide 8
flaw
rs
For the waves scattered from the flaw
x
Pinc
eio
es
in the far field
Ultrasonic System Model – Single Fluid
plane wave far-field scattering amplitude

## Slide 9
flaw
rs
Sr
receiving
transducer
Now, consider the scattered waves at the receiving
transducer:
es
Blocked force:
eio
Ultrasonic System Model – Single Fluid

## Slide 10
flaw
eso
eio
rs
In the paraxial approximation
(on reception)
zs
Ultrasonic System Model – Single Fluid
and we have
receiving
transducer

## Slide 11
receiving
transducer
Ultrasonic System Model – Single Fluid
FB
blocked force
rs
If receiving transducer were acting as a transmitter it would
produce a pressure field given by
zs

## Slide 12
receiving
transducer
Ultrasonic System Model – Single Fluid
FB
rs
zs
Thus,
and
becomes

## Slide 13
receiving
transducer
Ultrasonic System Model – Single Fluid
FB
rs
zs
Again, we could compute this diffraction correction with
our multi-Gaussian beam model
a

## Slide 14
transducer
receiver
Ultrasonic System Model – Single Fluid
FB
Sound reception process:
transfer function for transducer, cabling, receiver

## Slide 15
Combining all these relations, we find:
flaw
pulser
Vi()
z i
transducer
Sr
transducer
receiver
eso
z s
eio
St
Ultrasonic System Model – Single Fluid
FB

## Slide 16
flaw
pulser
z i
transducer
Sr
transducer
receiver
eso
z s
eio
Ultrasonic System Model – Single Fluid
St
Vi()

## Slide 17
flaw
pulser
z i
transducer
Sr
transducer
receiver
eso
z s
eio
Ultrasonic System Model – Single Fluid
St
Vi()
… system function (pulser/receiver, cabling, transducer)

## Slide 18
pulser, receiver
cabling,transducers
flaw
scattering
beam propagation and diffraction effects going from the transmitting
transducer to the flaw
and from the flaw to the receiving transducer
received
voltage
Ultrasonic System Model-Single Fluid
When attenuation of the fluid is important, we need to also
include terms
 … frequency dependent attenuation
area of
transmitter

## Slide 19
Ultrasonic System Model-Single Fluid
For pulse-echo
For pitch-catch

## Slide 20
Thompson-Gray Measurement Model – Fluid-Solid (Pulse-Echo)
SA
z1
z2
fluid
solid
flaw
P-wave or S-wave

## Slide 21
… propagation
… attenuation
… plane wave transmission
coefficient (velocity/velocity)
C () … diffraction coefficient
Thompson-Gray Measurement Model – Fluid-Solid (Pulse-Echo)