## Slide 1
The System Function

## Slide 2
Learning Objectives
Combination of transfer functions and Thevenin equivalent
pulser source term into a single factor - system
function
Relationship between the system function and system
"efficiency" factor
Experimental determination of the system function
by deconvolution
Examples of synthesizing an entire ultrasonic measurement system

## Slide 3
The System Function
acoustic/elastic
processes

## Slide 4
… system function
The System Function
There is a relationship between s() and the system “efficiency”
factor, (), [ Schmerr, Fundamentals of Ultrasonic Nondestructive
Evaluation, 1998] :
piston velocity
average incident pressure

## Slide 5
where
For piston transducers,
high frequency
The System Function
SR , ST … areas of receiving and transmitting transducers

## Slide 6
The System Function
Two methods to find s():
A. Measure all the components needed to obtain tR(), tG(),
Vi() by the methods indicated previously. Then combine
these measurements to give

## Slide 7
The System Function
deconvolution
Wiener filter
deconvolution
B. Measure VR(), model tA(), compute

## Slide 8
The System Function
Comparison of system factor obtained with both methods.
method A : synthesized
method B: measured
0
2
4
6
8
10
12
14
16
18
20
0
2
4
6
8
x 10
-2
Frequency (MHz)
synthesized
measured
s( f )
volts/MHz

## Slide 9
(a)
(b)
(c)
(d)
(e)
(f)
The System Function
Example setups where tA is known

## Slide 10
The System Function
If all the electrical and electromechanical components of an ultrasonic measurement system are measured to obtain s(), then this s() in conjunction with a knowledge of tA can used to determine the output voltage of a measurement system.
The following examples are shown for this setup:
pulser
receiver

## Slide 11
The System Function
2.2
2.4
2.6
2.8
3
3.2
3.4
-0.6
-0.4
-0.2
0
0.2
0.4
0.6
time, sec
voltage, volts

## Slide 12
The System Function
2
2.5
3
3.5
4
4.5
-0.4
-0.3
-0.2
-0.1
0
0.1
0.2
0.3
0.4
time, sec
voltage, volts

## Slide 13
The System Function
2.3
2.4
2.5
2.6
2.7
2.8
2.9
3
3.1
-0.4
-0.3
-0.2
-0.1
0
0.1
0.2
0.3
0.4
0.5
0.6
time, sec
voltage, volts