## Slide 1
Ultrasonic System Overview

## Slide 2
Learning Objectives
Overview of the UT system components that will be discussed

## Slide 3
flaw
pulser/
receiver
cabling
oscilloscope display
receiving transducer
transmitting
transducer
The ultrasonic system components

## Slide 4
-2.5
-2
-1.5
-1
-0.5
0
0.5
1
1.5
2
2.5
-1
-0.6
-0.2
0.2
0.6
1
time,

seconds
0
1
2
3
4
5
6
7
8
9
10
0
0.1
0.2
0.3
0.4
frequency, MHz
(a)
(b)
amplitude, volts
amplitude, volts/MHz
voltage versus time pulse, v(t)
magnitude of the frequency spectrum of the pulse, V(f)
(only positive frequencies shown)
Fourier
Transforms
f = frequency
(in cycles/sec or Hz)
= 2f
=frequency
(in rad/sec)

## Slide 5
pulser
The ultrasonic pulser and its equivalent circuit
voltage source
electrical impedance
pulser
voltage, current
cable
voltage pulse
v(t)

## Slide 6
cabling and its equivalent transfer matrix

## Slide 7
(a)
[TA]
(b)
A
a sending transducer and its equivalent transfer matrix
voltage, current
force, velocity

## Slide 8
Vin
Iin
(a)
(b)
electrical impedance
sensitivity
acoustic radiation
impedance
a sending transducer modeled as an impedance and sensitivity

## Slide 9
output
force
(a)
(b)
pulser
A
(c)
putting all the sound generation components together

## Slide 10
(a)
(b)
B
incident and
scattered waves
the receiving transducer also can be modeled by an impedance and sensitivity
blocked force
generated by the
waveson the transducer
voltage
impedance

## Slide 11
model of the receiver as an electrical impedance and gain factor
impedance
gain
receiver
output voltage

## Slide 12
receiver
output
voltage
(a)
(b)
(c)
putting all the sound reception components together

## Slide 13
acoustic/elastic
processes
pulser
receiver
Modeling all the wave propagation and scattering components as a transfer function
acoustic/elastic transfer function

## Slide 14
pulser
receiver
T
R
flaw
Modeling an entire ultrasonic measurement system
sound generation
transfer function
sound reception
transfer function

## Slide 15
system function
acoustic/elastic transfer function
output voltage
In terms of transfer functions the ultrasonic system looks like:
Can also combine the sound generation and reception transfer functions with the voltage source of the pulser tin a single function called the system function: