## Slide 1
Transducer Modeling

## Slide 2
Learning Objectives
Two port and three port transducer models
Sittig model
Mason model
KLM Model
Acoustic radiation impedance
Transducer sensitivity, impedance
The sound generation process

## Slide 3
Transducer model - fields
Reciprocity :
Consider a P-wave
immersion
transducer:
pressure,
velocity fields
p, v
V
I
n

## Slide 4
voltage
current
compressive force
velocity, v(x,)
Transducer model- ‘lumped’ parameters
so reciprocity becomes:
For
piston
behavior
pressure, p(x,)

## Slide 5
[TA]
V
I
F
v
Transducer model - transfer matrix
2-Port Transducer Model
From reciprocity
force
velocity
A

## Slide 6
I
[TA]
V
F
v
Transducer model - transfer matrix
Sittig model:

## Slide 7
Transducer model - transfer matrix
wave number of piezoelectric plate
wave speed of the plate, defined in terms of:
plate elastic constant at constant flux density
plate density
constant, defined in terms of:
plate stiffness
clamped capacitance, defined in terms of:
plate area, thickness
plate dielectric impermeability at constant
strain
plate acoustic impedance
backing acoustic impedance

## Slide 8
Transducer - three port model
I
V
F2 , v2
F1 , v1
transducer crystal
Plating
(thickness neglected)
V
I
F2
v2
F1
v1
3x3 impedance matrix

## Slide 9
Transducer - Mason equivalent circuit
v1
v2
V
I
F1
F2
1: n
C0
- C0
iZ0 /sin(kl)
a
- iZ0 tan(kl/2)
a
- iZ0 tan(kl/2)
a

## Slide 10
Transducer - KLM equivalent circuit model
1 : 
- i X
C0
V
I
F1
v1
F2
v2
l/2
l/2
Z0
Z0
a
a
=
2M sin(kl/2)
1
X = Z0 M2 sin(kl)
a
M = h33 / (Z0 )
a

## Slide 11
Sittig model with crystal facing layers
Backing (Zb )
a
crystal
facing layers
(epoxy bonding, wear plate, etc.)
Acoustic layer:
F1
v1
F2
v2
[Tl]
Commercial transducer:
[TA] = [TA] [TA] [Tl] ...
e
a

## Slide 12
[TA]
V
I
Ft
v
Transducer – radiation into a fluid
At the acoustic port the force and velocity parameters
are not independent. We can write
… acoustic radiation impedance (a "lumped"parameter
that depends on the velocity and pressure distribution
at the acoustic port, the port geometry, and the fluid properties)
A

## Slide 13
Acoustic radiation impedance
Rayleigh-Sommerfeld integral model of radiation of
waves into a fluid by a piston transducer
x
y
… fluid density
c … fluid wave speed
k = /c
pressure

## Slide 14
Greenspan, 1979: showed that for a circular piston transducer of radius a the acoustic radiation impedance obtained from the Rayleigh-Sommerfeld model could be found explicitly in the form
.
J1 … Bessel function
S1 … Struve function
SA = a2
Acoustic radiation impedance

## Slide 15
Acoustic radiation impedance
>> ka=linspace(0, 25, 100);
>> ka = ka + eps*( ka ==0);
>> Z = 1 -(besselj(1,ka)-i*struve(ka))./ka;
>> plot(ka, abs(Z))
>> xlabel(' ka ')
>> ylabel( ' V/\rhocS')
>> ylabel( ' Z/\rhocS')
0
5
10
15
20
25
0.5
0.6
0.7
0.8
0.9
1
1.1
1.2
Greenspan model of a circular piston transducer

## Slide 16
velocity
Acoustic radiation impedance
Most NDE transducers operate at high frequencies (ka >> 1). At such high frequencies if we can
assume piston behavior, for any shaped transducer it can be shown that
density, wave speed, area
A

## Slide 17
function y = struve(z)
num = length(z);
y=zeros(1,num);
for k = 1:num
y(k) = quadl(@struve_arg, 0, 1, [ ],[ ], z(k));
end
function y = struve_arg(x, z)
y = (4./pi).*z.*x.^2.*sin(z.*(1-x.^2)).*sqrt(2-x.^2);
Acoustic radiation impedance
this uses

## Slide 18
Sensitivity, Impedance
Vin
Iin
the electrical characteristics of the transducer
can be completely described by its input
impedance:
Iin
Vin
A

## Slide 19
Sensitivity, Impedance
The particular sensitivity we will use is:
to describe the conversion of electrical signals into acoustic signals, we could use the transducer's sensitivity, SOI, where
O … an output (force or velocity)
I … an input (voltage or current)
A

## Slide 20
Sensitivity, Impedance
All the other sensitivities can be found from this sensitivity if the transducer electrical impedance and acoustic radiation impedance are known:
A

## Slide 21
A
Sensitivity, Impedance
Thus, we can replace the transfer matrix model of the transducer by a model consisting of an electrical impedance and an ideal "converter" that is defined by the transducer sensitivity:

## Slide 22
Entire Sound Generation Process
transmitting
transducer
cable
pulser
output
force
Thevenin
input voltage
A
pulser
cable
transducer
sound generation
transfer function
=
=

## Slide 23
Entire Sound Generation Process
transmitting
transducer
cable
pulser
output
force
Thevenin
input voltage
A
sound generation
transfer function

## Slide 24
References
Ristic, V.M., Principles of Acoustic Devices, John Wiley, 1983
Kino. G.S., Acoustic Waves - Devices, Imaging and Analog
Signal Processing, Prentice-Hall, 1987.
Auld, B.A., Acoustic Fields and Waves in Solids, 2nd Ed.,
Vols. I and II, Krieger Publishing Co. , 1990.
Sacshe, W., and N.N. Hsu,” Ultrasonic transducers for materials
testing and their characterization,” in Physical Acoustics, Vol. XIV,
Eds. W.P. Mason and R.N. Thurston, 277-406, 1979.
Greeenspan, M., “Piston radiator: some extension of the theory,”
J. Acoust. Soc. Am., 65, 608-621, 1979.