## Calculations for Section 6.4.
Test Concentration (%) | Test Solution (Plate or Run) | Reportable Value (mg/g) | Analyst
50 | 1 | 1000.57 | 1 |  | Ybar1 | 998.7025
50 | 2 | 996.93 | 1 |  | Ybar2 | 997.95
50 | 3 | 1002.4 | 2 |  | Ybar3 | 999.92
50 | 4 | 994.91 | 2
100 | 5 | 994.16 | 3
100 | 6 | 992.72 | 3
100 | 7 | 1000.03 | 4
100 | 8 | 1004.89 | 4
150 | 9 | 1002.53 | 5
150 | 10 | 1004.83 | 5
150 | 11 | 998.17 | 6
150 | 12 | 994.15 | 6
[5 empty] | Average Case 1 | 998.8575
[5 empty] | Variance Case 1 | 18.552
Bias Confidence Interval Case 1 (6.5)
Number of values ( n ) | 12 |  | Case 2 calculations
two-sided conf level (1-alpha) | 0.9
True Value (tau) | 1000 |  | Analysis of Variance
t-value | 1.7959
Lower bound on bias | -3.3755 |  | Source | DF | Sum of Squares | Mean Square | F Ratio
Upper bound on bias | 1.0905 |  | Model | 2 | 7.9059 | 3.953 | 0.1814
|  |  | Error | 9 | 196.1665 | 21.7963 |  | Prob > F
SD Confidence Interval Case 1 (6.6) |  |  | C. Total | 11 | 204.0724 |  | 0.8371
Number of values ( n ) | 12
One-sided conf level (1-alpha) | 0.95
chi-squared value CI | 4.5748
Upper bound on SD | 6.6789
Bias 100% level Case 2 (6.10)
Number of concentration levels (c ) | 3
Number of values in level (r) | 4
two-sided conf level (1-alpha) | 0.9
True Value (tau) | 1000
Ybar 2 | 997.95
error df | 9
S^2_E | 21.7963
t-value | 1.8331
Lower bound on bias | -6.3291
Upper bound on bias | 2.2291
SD Confidence Interval Case 2 (6.11)
Error degrees of freedom | 9
One-sided conf level (1-alpha) | 0.95
chi-squared value CI | 3.3251
Upper bound on SD | 7.6809
Prediction Interval from (2.24) to test (6.15)
P | 0.9
Number of values ( n ) | 12
t-value | 1.7959
S^2 for Case 1 | 18.552
Y-bar for Case 1 | 998.8575
Lower PI | 990.8064
Upper PI | 1006.9086
Tolerance Interval from (2.26) to test (6.15)
K | 2.414
Lower TI | 988.4599
Upper TI | 1009.2551
Probability of OOS
LSL | 980
USL | 1020
Sample mean | 998.8575
Sample Std dev | 4.3072
Sample size | 12
KLS | 4.3781
KUS | 4.9086
pi-hat | 2.5535e-06
b | 0.029512
K* | 4.3781
sqrt(n) times K* | 15.1663
lambdaU | 9.5128 | From SAS 'tnonct" or other program that can compute a non-central t
U | 0.0030153
Proportion of total variance due to process (rho) | 0.5
Adjusted S^2 | 37.1041
KLS | 3.0958
KUS | 3.4709
pi-hat | 0.00075583
b | 0.096523
K* | 3.0958
sqrt(n) times K* | 10.7242
lambdaU | 6.545 | From SAS 'tnonct" or other program that can compute a non-central t
U | 0.029421

## Ruggedness calcs 6.4.10
Y Bar | 998.8575
a | 6
r | 2 | Summary of Fit
S^2_A | 29.165
S^2_E | 9.708
n1 | 5 | RSquare | 0.71458
n2 | 6 | RSquare Adj | 0.47673
rho | 0 | Root Mean Square Error | 3.1157
S^2_Total | 19.4365 | Mean of Response | 998.8575
m | 8.1318 | Observations (or Sum Wgts) | 12
m int | 8
Analysis of Variance
Prediction Interval (6.25)
P | 0.9 | Source | DF | Sum of Squares | Mean Square | F Ratio
Number of values ( n ) | 12 | Model | 5 | 145.8258 | 29.1652 | 3.0043
t-value | 1.8595 | Error | 6 | 58.2467 | 9.7078 |  | Prob > F
Lower PI | 990.3246 | C. Total | 11 | 204.0724 |  | 0.1065
Upper PI | 1007.3904
Tolerance Interval [13]
Number of values ( n ) | 12
two-sided conf level (1-alpha) | 0.9
P | 0.9
Z value | 1.6449
Chi-squared value | 3.4895
K | 2.5922
Lower TI | 987.4293
Upper TI | 1010.2857

## Fixed Rugg 6.4.11
Y Bar | 998.8575
a | 6
r | 2
S^2_A | 29.165
S^2_E | 9.708
n1 | 5
n2 | 6
rho | 0
S^2_Total | 19.4365
Lambda | 2.507
n1* | 6.6729
m* | 10.5541
m*int | 11
Prediction Interval (6.25)
P | 0.9
Number of values ( n ) | 12
t-value | 1.7959
Lower PI | 990.6167
Upper PI | 1007.0983
Tolerance Interval [13]
Number of values ( n ) | 12
two-sided conf level (1-alpha) | 0.9
P | 0.9
Z value | 1.6449
Chi-squared value | 5.5778
K | 2.4042
Lower TI | 988.2581
Upper TI | 1009.4569

## Method transfer 6.5
Equivalence test for Bias
Ybar1 | 247.7
Ybar2 | 249.4
Var1 | 10.2
Var2 | 27.1
n1 | 10
n2 | 10
Two-sided conf level | 0.9
Satt df | 14.9342
Satt df rounded | 15
t-value | 1.7531
LB unequal | -5.0857
UB unequal | 1.6857
Prediction interval for Variance
Confidence level | 0.95
F-value | 3.1789
U | 32.4247