PART I - GENERAL  -  NOT USED.

PART II - PRODUCTS -  NOT USED.

PART III - EXECUTION

  - This Contractor shall, and hereby does, warrant, and the General Contractor shall, and hereby does, guarantee, that all work executed under this section of this specification will be free of defects of materials and workmanship for a period of one year from the final acceptance of the building.  The above parties further agree that they will, at their own expense, repair and replace all such defective work and all other work damaged thereby which becomes defective during the term of this guarantee.

  - Contractor shall furnish first charges of refrigerant, grease, oil, etc., and shall be responsible for such full charges during the guarantee period, except when loss is due to negligence or fault of the Owner.

# END OF SECTION