PART I - GENERAL

1.01	Provide heaters of sizes and capacities shown on drawings. All units to bear U.L. label.

PART II - PRODUCTS

  - WALL HEATERS

A.	Wall heaters shall be brand and model indicated on drawings, with tamper-proof, automatic controls.  Heater shall be underwriters' Laboratories approved and furnished for mounting as shown on the drawings.

PART III - EXECUTION

  - Install equipment following manufacturer's instructions.

# END OF SECTION