PART I - GENERAL

A.	Performance Requirements:  Design, provide, monitor, and maintain an anchored and braced excavation support and protection system capable of resisting soil and hydrostatic pressure and supporting sidewalls of excavations.

1.	System design and calculations must be acceptable to authorities having jurisdiction.

B.	Existing Utilities:  Do not interrupt utilities serving facilities occupied by the Owner or others unless permitted in writing by the Architect and then only after arranging to provide temporary utility services according to requirements indicated.

C.	Project Site Information:  A geotechnical report has been prepared for this Project and is available for information only.  The report is not part of the Contract Documents.  Owner will not be responsible for interpretations or conclusions drawn from this data by Contractor.

1.	Make additional test borings and conduct other exploratory operations as necessary.

PART II - PRODUCTS  (Not Applicable)

PART III - EXECUTION

A.	Protect structures, utilities, sidewalks, pavements, and other facilities from damage caused by settlement, lateral movement, undermining, washout, and other hazards that could develop during excavation support and protection system operations.

B.	Install excavation support and protection systems to ensure minimum interference with roads, streets, walks, and other adjacent occupied and used facilities.

C.	Locate excavation support and protection systems clear of permanent construction and to permit forming and finishing of concrete surfaces.

D.	Monitor excavation support and protection systems daily during excavation progress and for as long as excavation remains open.  Promptly correct bulges, breakage, or other evidence of movement to ensure excavation support and protection systems remain stable.

E.	Promptly repair damages to adjacent facilities caused by installing excavation support and protection systems.

F.	Remove excavation support and protection systems when construction has progressed sufficiently to support excavation and bear soil and hydrostatic pressures as determined by a registered soils engineer.  Remove in stages to avoid disturbing underlying soils and damaging structures, pavements, facilities, and utilities.

1.	Remove excavation support and protection systems to a minimum depth of 48 inches below overlying construction and abandon remainder.

END OF SECTION