PART I - GENERAL

  - The A.I.A. General Conditions, Supplementary conditions and Special conditions of the Contract for the construction of building are to be considered as a part of this specification and all conditions contained therein which may affect this work are as binding as though contained herein.

  - The intent is to obtain a complete installation to which end the Contractor shall furnish all material, equipment, labor, etc. specified and any other accessory items which may not be specified, but which normally are furnished, required for proper operation or can be reasonably implied from the specifications and plans.  The Contractor shall furnish all freight, drayage, rigging, etc. required for this work.

  - In this section, the word "Contractor" or "This Contractor" means the contractor who is engaged to execute that portion of the work under which the word is shown.

  - The word "Provide" means to furnish, install, and connect.

  - WORK INCLUDED

- The work to be performed under the Heating, Ventilating, and Air Conditioning Contract shall include, but not be limited to:

- All ductwork complete with all accessories

- Exhaust fans

- Automatic controls

- Plumbing work shall include, but not necessarily be limited to the following major items:

- Soil, waste and vent piping

- Cold and hot water supply piping

- Plumbing fixtures complete with all accessories

- Thermal insulation as herein specified

  - WORK NOT INCLUDED

- Furring around pipes, ducts, etc.

- All electrical power wiring, conduit, etc. for electric heaters, motors, and motor starters shall be installed by Electrical Contractor

- Undercutting of doors and installation of door grilles

- Painting, except as required in Section 15025

  - CODES, LAWS AND ORDINANCES

- Contractor shall comply with all laws, codes and ordinances, etc, having jurisdiction over the work involved, except where the requirements called for in drawings and specifications are in excess of those called for in said laws, codes, etc.

- Perform work in accordance with the standards listed below, except where Federal, State, or Local Codes are more stringent, in which case follow same:

American Society for Testing and Materials        	ASTM

National Fire Protection Association         	NFPA

Sheet Metal & Air Conditioning Contractor’s Association	SMACNA

Local Building Code

Local Mechanical Code

Local Plumbing Code

Owners Insurance Underwriter

- Any changes necessary in order that the work comply with all such codes, laws, ordinances, etc., shall be made by the Contractor, with the approval of the Architect's Engineer, and without additional cost to the Owner.

- The Contractor shall obtain permits, inspection certificates, etc., required and give them to the Owner upon request before final payment.

  - PLANS AND SPECIFICATIONS

- While drawings are to scale, they are diagrammatic.  Equipment, piping, outlets, etc. are not exactly positioned; therefore the Contractor shall refer to architectural drawings for actual building dimensions and work by other trades.  Do not scale drawings.

- The right is reserved to move any outlet, equipment, and related ducts, controls, piping. etc., as much as ten feet at no increase in cost provided the Contractor is notified of the change before work on the detail in question is started.

- It shall be the responsibility of this Contractor that the equipment he installs fits the space available, leaving reasonable space for maintenance and servicing of equipment.  If, after the installation of any equipment, piping, etc., it is determined that the space requirements have not been met, the Contractor shall rearrange the work at no extra cost to the Owner.

- EXISTING CONDITIONS: This Contractor is to visit site PRIOR TO BID to become completely familiar with existing systems, conditions and location of work affected by the plans and specifications.  Failure to observe existing conditions shall not relieve the Contractor from providing a complete and properly operating system or from providing offsets, fittings, interlocks, accessories, etc. which may be required for new and existing systems.

PART II - PRODUCTS

  - MATERIALS AND EQUIPMENT

- All materials and equipment shall be new and the best grade and shall conform to all standards and requirements governing the work.  Equipment and materials damaged during the installation shall be replaced immediately at no extra cost to the Owner.

- Manufacturer's names, catalog numbers, etc. used herein are to denote design, workmanship, and quality desired. Materials and equipment of other manufacturers, when conforming to the specifications, and when proved to be equal to the material specified, will be approved.  This paragraph shall be considered as applying throughout.

- Where applicable, the equipment shall carry the label of the Underwriter's Laboratory, Inc.

  - SHOP DRAWINGS

- The Contractor shall submit, for approval by the Architect's Engineer, six sets of brochures describing each item required.  Description shall include rated capacities, dimensions, and characteristics.  This information shall be submitted before procurement.  Mark sheets with model numbers and options being proposed, identified with same designation as used on plans.

- ALL BROCHURES AND DRAWINGS SHALL BE SUBMITTED AT ONE TIME.  Items not approved shall be resubmitted with the necessary corrections made and shall be resubmitted until final approval is obtained.

- On request from the Engineer, the Contractor shall submit samples of material and equipment.

- Equipment substitutions, which affect structural, architectural, electrical or any other trade will be the sole responsibility of the Contractor.  Any additional work required by other trades for proper installation shall become the responsibility of the Contractor whose work was substituted.  Shop drawing approval shall not relieve the Contractor from compliance.

  - MACHINERY GUARDS

- Provide guards for moving equipment such as fan belt drives, pump/motor drive couplings and etc.

- Use OSHA approved belt guards and coupling guards.  Provide ½ inch hole in guard at center shaft of driven equipment where belt type drives are used.

  - BOLTED CONNECTIONS

- Accurately punch, drill or ream bolt holes and remove burrs.  Use washers, lock washers and self-locking nuts as required.  Tighten all bolts and nuts.  Use screw threads conforming to the National or Unified forms in accordance with the Bureau of Standards Handbook H28.  Do not use sheet metal screws.  For connections other than ductwork, use machine bolts where access or nuts would not be possible, and where unbolting may be required, in which case utilize sufficient thickness of metal to assure that 2 complete bolt threads are engaged.  Secure machine bolts in place by proper lock washers.

PART III - EXECUTION

  - All work shall be carried out in a neat and orderly manner by experienced mechanics, and under constant supervision of a competent mechanic, trained and licensed in this field, who shall represent this Contractor at all times in connection with the work.

  - When the Architect’s Engineer rejects materials or work, the Contractor shall remove all rejected work and/or material at no extra cost to the Owner.

  - When this work damages other material, equipment, etc. his Contractor shall make all needed repairs, which shall be equal to that damaged, in quality, strength, and appearance.

  - This Contractor shall, in every way, cooperate with the other contractors in the job.  Where several trades are involved in any space, area, or pipe chase, all shall cooperate and install their own work to utilize the space between them as their individual needs require.  In general, the ductwork shall be given preference except where grading of a pipe becomes impossible.  Attention is called to space required by lighting fixtures.

# END OF SECTION