PART I - GENERAL

  - Furnish and install a complete system of automatic controls to operate as indicated below.

  - This Contractor shall provide free of charge a one-year guarantee of the equipment.  He shall provide 24-hour emergency service, and any service incidental to the proper performance of the control system.

  - Prior to the installation of the control system, this Contractor shall submit data showing in detail of the system that he proposes to install.  Data shall include brochures on equipment and shop drawings, showing terminal to terminal electrical connections; shop drawings shall contain brief description of control operation.

  - All wiring, relays contactors, transformers, etc. for automatic controls shall be by this Contractor.

PART II - PRODUCTS

# PART III - EXECUTION

  - Upon completion of installation, this Contractor shall regulate and adjust equipment provided by him.

  - Install all control, pilot circuit, and interlock wiring; including wiring through interposed safety or other auxiliary control devices required for proper operation of equipment.

  - SEQUENCE OF OPERATION

- Exhaust fans in toilet rooms shall be controlled by programmable timer.

- Exhaust fan in vending room shall be controlled by light switch.

- Wall heaters shall be controlled by built in thermostat.

## END OF SECTION