## Slide 1: Addressing Business Impact Analysis and Business Continuity
Security Planning Susan Lincke
Notes: <number>
<number>
This covers most of the CISA Chapter on Business Continuity and Disaster Recovery.

## Slide 2
Objectives:
The Student shall be able to
Define: Business Continuity Plan (BCP), Business Impact Analysis (BIA), Disaster Recovery Plan (DRP)
Discuss advantages and disadvantages of :Hot site, warm site, cold site, reciprocal agreement, mobile site
Define Interruption window, Maximum tolerable outage, Service delivery objective
Define and appropriate select a: Recovery point objective (RPO), Recovery time objective (RTO)
Define Desk based or paper test, preparedness test, fully operational test, and tests: checklist, structured walkthrough, simulation test, parallel test, full interruption, pretest, post-test
Define: diverse routing, alternative routing, RAID
Define: Incremental backup, differential backup
Define cloud computing, Infrastructure as a Service, Platform as Service, Software as a Service, Private cloud, Community cloud, Public cloud, Hybrid cloud.
Notes: <number>
MINOR CHANGES TYPED FULL NAME INSTEAD OF ABBREVIATION (MEGAN)

## Slide 3: Imagine a company…
Bank with 1 Million accounts, social security numbers, credit cards, loans…
Airline serving 50,000 people on 250 flights daily…
Pharmacy system filling 5 million prescriptions per year, some of the prescriptions are life-saving…
Factory with 200 employees producing 200,000 products per day using robots…
Notes: <number>

## Slide 4
Imagine a system failure…
Server failure
Disk System failure
Hacker break-in
Denial of Service attack
Extended power failure
Snow storm
Spyware
Malevolent virus or worm
Earthquake, tornado
Employee error or revenge
How will this affect each business?
Notes: <number>
Different companies will react in different ways to problems. A bank may want to bring down a network as fast as possible if an intruder penetrates their network. A pharmacy may want to leave their network up as much as possible but doublecheck integrity – or decide to bring down a partial network.
<number>

## Slide 5
First Step: Business Impact Analysis
Which business processes are of strategic importance?
What disasters could occur?
What impact would they have on the organization financially? Legally? On human life? On reputation?
What is the required recovery time period?
Answers obtained via questionnaire, interviews, or meeting with key users of IT
Notes: <number>

## Slide 6
Event Damage Classification
Negligible: No significant cost or damage
Minor: A non-negligible event with no material or financial impact on the business
Major: Impacts one or more departments and may impact outside clients
Crisis: Has a major material or financial impact on the business
Minor, Major, & Crisis events should be documented and tracked to repair
Notes: <number>

## Slide 7: Workbook: Disasters and Impact
Problematic Event or Incident | Affected Business Process(es) (Assumes a university) | Impact Classification & Effect on finances, legal liability, human life, reputation
Fire | Class rooms, business departments | Crisis, at times Major, Human life
Hacking Attack | Registration, advising, | Major, Legal liability
Network Unavailable | Registration, advising, classes, homework, education | Crisis
Social engineering, /Fraud | Registration, | Major, Legal liability
Server Failure (Disk/server) | Registration, advising, classes, homework, education. | Major, at times: Crisis

## Slide 8
Recovery Time: Terms
Interruption Window: Time duration organization can wait between point of failure and service resumption
Service Delivery Objective (SDO): Level of service in Alternate Mode
Maximum Tolerable Outage: Max time in Alternate Mode
Regular Service
Alternate Mode
Regular
Service
Interruption
Window
Maximum Tolerable Outage
SDO
Interruption
Time…
Disaster
Recovery
Plan Implemented
Restoration
Plan Implemented
Notes: <number>
This shows a lot of vocabulary in pictorial form. The alternate mode is not a full service mode.
<number>

## Slide 9
Definitions
Business Continuity: Offer critical services in event of disruption
Disaster Recovery: Survive interruption to computer information systems
Alternate Process Mode: Service offered by backup system
Disaster Recovery Plan (DRP): How to transition to Alternate Process Mode
Restoration Plan: How to return to regular system mode
Notes: <number>

## Slide 10
Classification of Services
Critical $$$$: Cannot be performed manually. Tolerance to interruption is very low
Vital $$: Can be performed manually for very short time
Sensitive $: Can be performed manually for a period of time, but may cost more in staff
Nonsensitive ¢: Can be performed manually for an extended period of time with little additional cost and minimal recovery effort
Notes: <number>
It is a good idea to classify business processes. Upper management should do this.
<number>

## Slide 11: Determine Criticality of Business Processes
Corporate
Sales (1)
Shipping (2)
Engineering (3)
Web Service (1)
Sales Calls (2)
Product A (1)
Product B (2)
Product C (3)
Product A (1)
Orders (1)
Inventory (2)
Product B (2)
Notes: <number>
We may decide that the Sales function is most critical (or perhaps not), and so Sales is number 1. If we don’t have sales, we don’t ship. Engineers can work at home on their projects. While their work is critical to backup, if they lose a week, it may mean ½ week lost productivity, resulting in lost salary.
Within Sales, the web service is 50% of sales, and cannot be done manually, so it is rated number 1. The Sales calls can be done manually at home or most of our sales people are on the road anyway.

## Slide 12
RPO and RTO
How far back can you fail to? How long can you operate without a system?
One week’s worth of data? Which services can last how long?
Interruption
1 1 1
Hour Day Week
Recovery Point Objective
Recovery Time Objective
Interruption
1 1 1
Week Day Hour
Notes: <number>
<number>
A note here is that sometimes the RTO varies by day of year (scheduling system for a school is most important the week before and first week of school.) Also, management and people involved with a database may disagree, in which case management sees the larger picture, and their opinion is most important. However a risk manager may consider both perspectives.

## Slide 13
Recovery Point Objective
Mirroring:
RAID
Backup
Images
Orphan Data: Data which is lost and never recovered.
RPO influences the Backup Period
Notes: <number>
The interruption (red thing) is far to the right. If we want a short RPO, then RAID or disk mirroring is the best option. Otherwise we may want to save off a disk image. A slower recovery would involve tape.
<number>

## Slide 14: Business Impact Analysis Summary
Service | Recovery Point Objective (Hours) | Recovery Time Objective (Hours) | Critical Resources (Computer, people, peripherals) | Special Notes (Unusual treatment at Specific times, unusual risk conditions)
Registration | 0 hours | 4 hours | SOLAR, network Registrar | High priority during Nov-Jan, March-June, August.
Personnel | 2 hours | 48 hours | PeopleSoft | Can operate manually for 2 days
Teaching | 1 day | 1 hour | D2L, network, faculty files | During school semester: high priority.
Work Book
Partial BIA for a university

## Slide 15: High Availability Solutions
RAID: Local disk redundancy
Fault-Tolerant Server: When primary server fails, backup server resumes service.
  Distributed Processing: Distributes load over multiple servers. If server fails, remaining server(s) attempt to carry the full load.
Storage Area Network (SAN): disk network supports remote backups, data sharing and data migration between different geographical locations

## Slide 16
RAID – Data Mirroring
ABCD
ABCD
AB
CD
Parity
AB
CD
RAID 0: Striping
RAID 1: Mirroring
Higher Level RAID: Striping & Redundancy
Redundant Array of Independent Disks
Notes: <number>
RAID 1 and above use redundancy, offering survival if a single disk fails.
<number>

## Slide 17
Network Disaster Recovery
Redundancy
Includes:
Routing protocols
Fail-over
Multiple paths
Alternative Routing
>1 Medium or
> 1 network provider
Diverse Routing
Multiple paths,
1 medium type
Last-mile circuit protection
E.g., Local: microwave & cable
Long-haul network diversity
Redundant network providers
Voice Recovery
Voice communication backup
Notes: <number>
With redundancy, if one part fails, another part can take over.
Diverse Routing means one provider, but multiple routes (or paths).
Alternate Routing means multiple network providers, and/or multiple mediums (fiber, cable, radio)
Long-haul = Long Distance
Last-mile circuit = from office (or home) to service provider (local telco or cable company)
<number>

## Slide 18: Big Data
Reliable, quick-access distributed DBs
Large amounts of data: terabyte/petabyte
Data replication
Automatically allocates data across multiple servers
Horizontal scalability: Simply add commodity servers
NoSQL servers: support a subset of SQL queries
Very limited confidentiality/integrity security features are standard

## Slide 19: Big Data
Hadoop
Apache distributed DB
Replicates, distributes data across multiple locations
MapReduce accesses requests across nodes/clusters as <key, value> requests
Reconfigures itself after failure
Standard hardware
MongoDB
Free document-oriented DB
used by MTV, Forbes, NY Times, Craigslist.
Orders groups of items into ‘collections’, retrieved by collection name
Commands include: insert(), save(), find(), update(), remove(), drop()
passes name=value args; can include comparisons
Fast; no complex data joins

## Slide 20: What is Cloud Computing?
Database
App Server
Laptop
PC
Web Server
Cloud Computing
VPN Server
Notes: Definition:
Cloud Computing: A shared pool of configurable computing resources (such as Servers, Applications, Databases, Services, Computers) that can be rapidly customized and released with minimal management effort or service provider. Any user within the network is allow access to the shred configurable resource by providing authentication. Once authentication is approved, user is allowed to customize resource.
Advantages:
Cost
  Since the cloud provider supplies the organization’s infrastructure, cloud computing becomes an operational cost rather than a capital cost. Also cost is reduced by reducing technical staff and centralizing computing resources
Scalability
  Reduces or eliminates physical space for storing data
Reliability
  Large cloud computing providers have redundant sites for users, which may address business continuity and disaster recovery risk
Performance
  Provider continuous and consistent monitoring
Agility
  Rapidly providing infrastructure resources
Disadvantage:
Potential for High Risk/Security Concerns
    Since cloud computing is new technology, there maybe unknown bugs or holes
Technical Support is not familiar dealing with arising problems
  Solutions may take longer to solve
Source: CISM® Review Manual 2012, © 2011, ISACA. All rights reserved. Used by permission.
<number>

## Slide 21: Introduction to Cloud
This would cost $200/month.
This would cost $200/month.
NIST Visual Model of Cloud Computing Definition
National Institute of Standards and Technology, www.cloudstandards.org

## Slide 22: Cloud Service Models
Data (DaaS): Retrieve DB data from cloud provider
Software (SaaS): Provider runs own applications on cloud infrastructure. Platform (PaaS): Consumer provides apps; provider provides system and development environment.
Infrastructure (laaS): Provides customers access to processing, storage, networks or other fundamental resources
Notes: Some things to consider:
Infrastructure:
Creates options if the cloud provider has a service interruption
Platform:
Availability
Confidentiality
If a security breach happens, privacy and legal liability
Data ownerships
Concern around e-discovery
Software:
Who owns the application
Where are the applications locations
Source: CISM® Review Manual 2012, © 2011, ISACA. All rights reserved. Used by permission. Exhibit 3.15
<number>

## Slide 23: Cloud Deployment Models
Private Cloud: Dedicated to one organization
Community Cloud: Several organizations with shared concerns share computer facilities
Public Cloud: Available to the public or a large industry group
Hybrid Cloud: Two or more clouds (private, community or public clouds) remain distinct but are bound together by standardized or proprietary technology
Notes: Some things to consider:
Private Cloud:
Cloud services with minimum risk
May not provide scalability and agility of public cloud services
Company wants higher control over the environment
Community Cloud:
Data may be stored with the data of competitors
Company needs more than one organization in the company access to the cloud
Public Cloud:
Data may be stored in unknown locations and may b easily retrievable
Company wants general public/large industry group access to the cloud
Hybrid Cloud:
Aggregate risk from having different cloud computing development models
Data should be classified and labeled to assign correct type
Source: CISM® Review Manual 2012, © 2011, ISACA. All rights reserved. Used by permission. Exhibit 3.16
<number>

## Slide 24: Cloud Contractual Issues
Service Level Agreement: personalized
Ownership of data: privacy policies, security controls, monitoring performed, data location, data subpoena
Audit report: Penetration testing, security/availability metrics, logs, policy change notifications
Incident Response: Disaster recovery, informational reports
Contract termination: at any time, data export, costs, data destruction

## Slide 25: Major Areas of Security Concerns
Multi-tenancy: Your app is on same server with other organizations.
  Need: segmentation, isolation, policy
Physical Location: In which country will data reside? What regulations affect data?
Service Level Agreement (SLA): Defines performance, security policy, availability, backup, compliance, audit issues
Your Coverage: Total security = your portion + provider portion
  Responsibility varies for IAAS vs. PAAS vs. SAAS
You can transfer security responsibility but not accountability

## Slide 26
Alternative Recovery Strategies
Hot Site: Fully configured, ready to operate within hours
Warm Site: Ready to operate within days: no or low power main computer. Does contain disks, network, peripherals.
Cold Site: Ready to operate within weeks. Contains electrical wiring, air conditioning, flooring
Duplicate or Redundant Info. Processing Facility: Standby hot site within the organization
Reciprocal Agreement with another organization or division
Mobile Site: Fully- or partially-configured trailer comes to your site, with microwave or satellite communications
Notes: <number>
Hot, warm, cold, and mobile sites can be rented from special companies. Contracts must be carefully looked over. A duplicate info processing facility can be a computer system in another division of the company.
<number>

## Slide 27
Disruption vs. Recovery Costs
Cost
Time
Service Downtime
Alternative Recovery Strategies
Minimum Cost
* Hot Site
* Warm Site
* Cold Site
Notes: <number>
There is a curve showing the cost of having a system down, and another curve showing the cost of bringing an alternative system up quickly. The least cost is the cross-point of these two curves.
<number>

## Slide 28
Hot Site
Contractual costs include: basic subscription, monthly fee, testing charges, activation costs, and hourly/daily use charges
Contractual issues include: other subscriber access, speed of access, configurations, staff assistance, audit & test
Hot site is for emergency use – not long term
May offer warm or cold site for extended durations
Notes: <number>

## Slide 29
Reciprocal Agreements
Advantage: Low cost
Problems may include:
  Quick access
  Compatibility (computer, software, …)
  Resource availability: computer, network, staff
  Priority of visitor
  Security (less a problem if same organization)
  Testing required
  Susceptibility to same disasters
  Length of welcomed stay
Notes: <number>

## Slide 30: RPO Controls
Data File and System/Directory Location | RPO (Hours) | Special Treatment (Backup period, RAID, File Retention Strategies)
Registration | 0 hours | RAID. Mobile Site?
Teaching | 1 day | Daily backups. Facilities Computer Center as Redundant info processing center
Work
Book

## Slide 31
Business Continuity Process
Perform Business Impact Analysis
Prioritize services to support critical business processes
Determine alternate processing modes for critical and vital services
Develop the Disaster Recovery plan for IS systems recovery
Develop BCP for business operations recovery and continuation
Test the plans
Maintain plans
Notes: <number>
Some business processes are more important than other business processes. Sales is more important in the short term than engineering, and possibly more than the factory. That is why business processes are prioritized.
<number>

## Slide 32
Question
The amount of data transactions that are allowed to be lost following a computer failure (i.e., duration of orphan data) is the:
Recovery Time Objective
Recovery Point Objective
Service Delivery Objective
Maximum Tolerable Outage
Notes: <number>
2

## Slide 33
Question
When the RTO is large, this is associated with:
Critical applications
A speedy alternative recovery strategy
Sensitive or nonsensitive services
An extensive restoration plan
Notes: <number>
<number>
3---Large RTOs mean the application can run manually with little problem for an extended length of time. This is associated with services classified as sensitive or nonsensitive.

## Slide 34
Question
When the RPO is very short, the best solution is:
Cold site
Data mirroring
A detailed and efficient Disaster Recovery Plan
An accurate Business Continuity Plan
Notes: <number>
<number>
2---RPO requires recovery of data (gathered in the past) immediately. Therefore, the correct answer is data mirroring (or using redundant disks).

## Slide 35: Data Storage Protection
Backup
Storage

## Slide 36
Backup Rotation: Grandfather/Father/Son
Grandfather
Dec ‘13 Jan ‘14 Feb ‘14 Mar ‘14 Apr ‘14
April 30 May 6 May 13 May 20
May 21 May 22 May 23 May 24 May 25 May 26 May 27
Father
Son
graduates
Frequency of backup = daily, 3 generations
Notes: <number>
Son: Disks rotate: 7 disks are continually rotated.
Father: 4-5 tapes (or disks) are rotated, with the oldest always being overlaid.
Grandfather: 12 or 24 tapes can maintain a monthly history for 1 or 2 years.

## Slide 37
Incremental & Differential Backups
Daily Events | Full | Differential | Incremental
Monday: Full Backup | Monday | Monday | Monday
Tuesday: A Changes | Tuesday | Saves A | Saves A
Wednesday: B Changes | Wed’day | Saves A + B | Saves B
Thursday: C Changes | Thursday | Saves A+B+C | Saves C
Friday: Full Backup | Friday | Friday | Friday
If a failure occurs on Thursday, what needs to be reloaded for Full, Differential, Incremental?
Which methods take longer to backup? To reload?
Notes: <number>
<number>
From All-in-One CISSP Exam Guide, 4th Edition, Shon Harris, McGraw Hill Osborne

## Slide 38
Backup Labeling
Data Set Name = Master Inventory
Volume Serial # = 14.1.24.10
Date Created = Jan 24, 2014
Accounting Period = 3W-1Q-2014
Offsite Storage Bin # = Jan 2014
Backup could be disk…
Notes: <number>

## Slide 39
Backup & Offsite Library
Backups are kept off-site (1 or more)
Off-site is sufficiently far away (disaster-redundant)
Library is equally secure as main site; unlabelled
Library has constant environmental control (humidity-, temperature-controlled, UPS, smoke/water detectors, fire extinguishers)
Detailed inventory of storage media & files is maintained
Notes: <number>

## Slide 40: Disaster Recovery
Disaster Recovery
Testing

## Slide 41
An Incident Occurs…
Security officer
declares disaster
Call Security
Officer (SO)
or committee
member
SO follows
pre-established
protocol
Emergency Response
Team: Human life:
First concern
Phone tree notifies
relevant participants
IT follows Disaster
Recovery Plan
Public relations
interfaces with media
(everyone else quiet)
Mgmt, legal
council act
Notes: <number>
This activity diagram shows that some events can happen in parallel, including all the tasks to the right. In some cases there is a security committee, and anyone on the committee can decide a disaster has occurred.
There is also a procedure that includes the criteria for making the declaration in the first place. Once that determination is made, disaster protocols can begin.
<number>

## Slide 42: DRP Contents
Preincident readiness
How to declare a disaster
Evacuation procedures
Identifying persons responsible, contact information
  IRT, S/W-H/W vendors, insurance, recovery facilities, suppliers, offsite media, human relations, law enforcement (for serious security threat)
Step-by-step procedures
Required resources for recovery & continued operations
Notes: <number>

## Slide 43
Concerns for a BCP/DR Plan
Evacuation plan: People’s lives always take first priority
Disaster declaration: Who, how, for what?
Responsibility: Who covers necessary disaster recovery functions
Procedures for Disaster Recovery
Procedures for Alternate Mode operation
  Resource Allocation: During recovery & continued operation
Copies of the plan should be off-site
Notes: <number>
People’s lives take FIRST PRIORITY is often a question on a CISA or CISM exam.
<number>

## Slide 44
Disaster Recovery Responsibilities
General Business
First responder: Evacuation, fire, health…
Damage Assessment
Emergency Mgmt
Legal Affairs
Transportation/Relocation/Coordination (people, equipment)
Supplies
Salvage
Training
IT-Specific Functions
Software
Application
Emergency operations
Network recovery
Hardware
Database/Data Entry
Information Security
Contact information is important!
Notes: <number>
Each of these potentially need addressing
<number>

## Slide 45
BCP Documents
Focus: | IT | Business
Event Recovery | Disaster Recovery Plan Procedures to recover at alternate site | Business Recovery Plan Recover business after a disaster
 | IT Contingency Plan: Recovers major application or system | Occupant Emergency Plan: Protect life and assets during physical threat
 | Cyber Incident Response Plan: Malicious cyber incident | Crisis Communication Plan: Provide status reports to public and personnel
Business Continuity |  | Business Continuity Plan
 |  | Continuity of Operations Plan Longer duration outages
Notes: <number>
Here Event Recovery is how to react or recover from the incident.
Business Continuity is how Alternate Processing mode should operate.
<number>

## Slide 46: Workbook Business Continuity Overview
Criticality Class (Critical or Vital) | Business Process | Incident or Problematic Event(s) | Procedure for Handling
Vital | Registration | Computer Failure | DB Backup Procedure DB Recovery Procedure - Registration Mobile Site Plan
Critical | Teaching | Computer Failure | DB Backup Procedure DB Recovery Procedure – Teaching Section Mobile Site Plan

## Slide 47: MTBF = MTTF + MTTR
Mean Time to Repair (MTTR)
Mean Time Between Failure (MTBF)
Measure of availability:
5 9s = 99.999% of time working = 5 ½ minutes of failure per year.
works repair works repair works
1 day
84 days
Notes: Mean time means statistical average.
<number>

## Slide 48
Disaster Recovery Test Execution
Always tested in this order:
Desk-Based Evaluation/Paper Test: A group steps through a paper procedure and mentally performs each step.
Preparedness Test: Part of the full test is performed. Different parts are tested regularly.
Full Operational Test: Simulation of a full disaster
Notes: <number>

## Slide 49: Business Continuity Test Types
Checklist Review: Reviews coverage of plan – are all important concerns covered?
Structured Walkthrough: Reviews all aspects of plan, often walking through different scenarios
Simulation Test: Execute plan based upon a specific scenario, without alternate site
Parallel Test: Bring up alternate off-site facility, without bringing down regular site
Full-Interruption: Move processing from regular site to alternate site.
Notes: <number>
Start with the simplest tests and proceed to the more complex tests.
From: All-in-One CISSP Exam Guide, 4th Edition, Shon Harris, McGraw Hill, 2008

## Slide 50: Testing Objectives
Main objective: existing plans will result in successful recovery of infrastructure & business processes
Also can:
Identify gaps or errors
Verify assumptions
Test time lines
Train and coordinate staff
Notes: Testing incident response can start with easier operations and proceed to more complex. Often part of the problem is the long time it takes or the errors which are made, which can be optimized by practice.

## Slide 51: Testing Procedures
Tests start simple and become more challenging with progress
Include an independent 3rd party (e.g. auditor) to observe test
Retain documentation for audit reviews
Develop test
objectives
Execute Test
Evaluate Test
Develop recommendations
to improve test effectiveness
Follow-Up to ensure
recommendations
implemented

## Slide 52: Test Stages
PreTest: Set the Stage
Set up equipment
Prepare staff
Test: Actual test
PostTest: Cleanup
Returning resources
Calculate metrics: Time required, % success rate in processing, ratio of successful transactions in Alternate mode vs. normal mode
Delete test data
Evaluate plan
Implement improvements
PreTest
Test
PostTest
Notes: When testing IR or DR, there are three stages for the testing.

## Slide 53: Gap Analysis
Comparing Current Level with Desired Level
Which processes need to be improved?
Where is staff or equipment lacking?
Where does additional coordination need to occur?

## Slide 54
Insurance
IPF & Equipment | Data & Media | Employee Damage
Business Interruption: Loss of profit due to IS interruption | Valuable Papers & Records: Covers cash value of lost/damaged paper & records | Fidelity Coverage: Loss from dishonest employees
Extra Expense: Extra cost of operation following IPF damage | Media Reconstruction Cost of reproduction of media | Errors & Omissions: Liability for error resulting in loss to client
IS Equipment & Facilities: Loss of IPF & equipment due to damage | Media Transportation Loss of data during xport | 
IPF = Information Processing Facility
Notes: <number>
<number>
This is an optional slide for Computer Scientists, but may be useful for MIS or IT majors. It is also necessary information for CISA applicants.

## Slide 55
Auditing BCP
Includes:
Is BIA complete with RPO/RTO defined for all services?
Is the BCP in-line with business goals, effective, and current?
Is it clear who does what in the BCP and DRP?
Is everyone trained, competent, and happy with their jobs?
Is the DRP detailed, maintained, and tested?
Is the BCP and DRP consistent in their recovery coverage?
Are people listed in the BCP/phone tree current and do they have a copy of BC manual?
Are the backup/recovery procedures being followed?
Does the hot site have correct copies of all software?
Is the backup site maintained to expectations, and are the expectations effective?
Was the DRP test documented well, and was the DRP updated?
Notes: <number>

## Slide 56
Summary of BC Security Controls
Redundancy: RAID, Storage Area Networks, fault-tolerant server, distributed processing, big data
Backups: Full backup, incremental backup, differential backup
Networks: Diverse routing, alternative routing
Alternative Site: Hot site, warm site, cold site, reciprocal agreement, mobile site
Testing: checklist, structured walkthrough, simulation, parallel, full interruption
Insurance
Notes: <number>

## Slide 57
Question
The FIRST thing that should be done when you discover an intruder has hacked into your computer system is to:
Disconnect the computer facilities from the computer network to hopefully disconnect the attacker
Power down the server to prevent further loss of confidentiality and data integrity.
Call the manager.
Follow the directions of the Incident Response Plan.
Notes: <number>
4

## Slide 58
Question
During an audit of the business continuity plan, the finding of MOST concern is:
The phone tree has not been double-checked in 6 months
The Business Impact Analysis has not been updated this year
A test of the backup-recovery system is not performed regularly
The backup library site lacks a UPS
Notes: <number>
<number>
3---The most critical asset for a company is its data. The backup-restore must be tested to ensure that this critical data is always available.

## Slide 59
Question
The first and most important BCP test is the:
Fully operational test
Preparedness test
Security test
Desk-based paper test
Notes: <number>
<number>
The Desk-based paper test is the first of the three tests, and is considered to be the most critical to perform.

## Slide 60
Question
When a disaster occurs, the highest priority is:
Ensuring everyone is safe
Minimizing data loss by saving important data
Recovery of backup tapes
Calling a manager
Notes: <number>
1

## Slide 61
Question
A documented process where one determines the most crucial IT operations from the business perspective
Business Continuity Plan
Disaster Recovery Plan
Restoration Plan
Business Impact Analysis
Notes: <number>
4. Business Impact Analysis
<number>

## Slide 62: Question
The PRIMARY goal of the Post-Test is:
Write a report for audit purposes
Return to normal processing
Evaluate test effectiveness and update the response plan
Report on test to management
Notes: 3
<number>

## Slide 63: Question
A test that verifies that the alternate site successfully can process transactions is known as:
Structured walkthrough
Parallel test
Simulation test
Preparedness test
Notes: 2
<number>

## Slide 64: Summary
The main issue with Business Continuity is AVAILABILITY:
How can an organization continue to operate without computers? BIA & BC
Which services should be prioritized? Criticality Classification
How much time/data can we afford to lose per service? RTO & RPO
How does IT recover? Disaster Recovery Plan
Techniques include:
Cloud Recovery Sites Redundancy/High Availability
Big Data Backup & Recovery
Ensuring success:
Planning Testing Measuring Insurance

## Slide 65: HEALTH FIRST CASE STUDY
Business Impact Analysis & Business Continuity
Jamie Ramon MD
Doctor
Chris Ramon RD
Dietician
Terry
Licensed
Practicing Nurse
Pat
Software Consultant
Notes: <number>

## Slide 66: Step 1: Define Threats Resulting in Business Disruption
Key questions:
Which business processes are of strategic importance?
What disasters could occur?
What impact would they have on the organization financially? Legally? On human life? On reputation?
Impact Classification
Negligible: No significant cost or damage
Minor: A non-negligible event with no material or financial impact on the business
Major: Impacts one or more departments and may impact outside clients
Crisis: Has a major financial impact on the business
Notes: There will be more threat ideas in the Workbook
<number>

## Slide 67: Step 1: Define Threats Resulting in Business Disruption
Problematic Event or Incident | Affected Business Process(es) | Impact Classification & Effect on finances, legal liability, human life, reputation
Fire |  | 
Hacking incident |  | 
Network Unavailable (E.g., ISP problem) |  | 
Social engineering, fraud |  | 
Server Failure (E.g., Disk) |  | 
Power Failure |  | 
Notes: There will be more threat ideas in the Workbook
<number>

## Slide 68
1 1 1
Hour Day Week
Step 2: Define Recovery Objectives
Recovery Point Objective
Recovery Time Objective
Interruption
Business Process | Recovery Time Objective (Hours) | Recovery Point Objective (Hours) | Critical Resources (Computer, people, peripherals) | Special Notes (Unusual treatment at specific times, unusual risk conditions)
1 1 1
Week Day Hour
Notes: <number>
<number>
A note here is that sometimes the RTO varies by day of year (scheduling system for a school is most important the week before and first week of school.) Also, management and people involved with a database may disagree, in which case management sees the larger picture, and their opinion is most important. However a risk manager may consider both perspectives.

## Slide 69: Business Continuity
Step 3: Attaining Recovery Point Objective (RPO)
Step 4: Attaining Recovery Time Objective (RTO)
Classification (Critical or Vital) | Business Process | Problem Event(s) or Incident | Procedure for Handling (Section 5)
Notes: The full procedure for handling would be documented in section 5 of the workbook.
<number>

## Slide 70: Criticality Classification
Critical: Cannot be performed manually. Tolerance to interruption is very low
Vital: Can be performed manually for very short time
Sensitive: Can be performed manually for a period of time, but may cost more in staff
Non-sensitive: Can be performed manually for an extended period of time with little additional cost and minimal recovery effort